## DefaultCredentials
Vendor | Device | DefaultPassword | Port | DeviceType | Protocol | Source
ABB | AC 800M | service:ABB800xA |  | Controller |  | https://library.e.abb.com/public/f355a67551218ae7c1257dc0003298c5/3BDS021515-600_-_en_AC_800M_6.0_PROFINET_IO_Configuration.pdf
ABB | SREA-01 | admin:admin | 80/tcp | Ethernet Adapter Module | http | https://www.inverterdrive.com/file/ABB-SREA-01-Manual
Adcon Telemetry | Telemetry Gateway A840 and Wireless Modem A440 | root:840sw | terminal program | Base Station |  | http://www.adcon.com/index.php?option=com_docman&task=doc_download&gid=41&Itemid=239&lang=de
Adcon Telemetry | addVANTAGE Pro 6.1, 6.5 | root:root | 8080/tcp | HMI | HTTP | http://adcon.com/index.php?option=com_docman&task=doc_download&gid=31&Itemid=239&lang=en, http://scient.static.otenet.gr:8080/doc/admin_help_en.pdf
Advantech | ADAM-3600-A1F | Root:00000000, Admin:00000000, User:00000000 | 80/tcp | Remote I/O Module | HTTP | https://www.proxis.ua/files/documents/UM-ADAM-3600-A1F-Ed1-EN.pdf
Advantech | ADAM-6050W | 0 / 00000000 |  | I/O module |  | http://datasheet.octopart.com/ADAM-6050W-AE-Advantech-datasheet-32780543.pdf
Advantech | ADAM-6200 Series | root:00000000 | 80/tcp | Intelligent Ethernet I/O Module | HTTP | http://www.bb-elec.com/Products/Manuals/ADAM-6200m-pdf.pdf
Advantech | Advantech WebAccess browser-based HMI and SCADA software | admin:blank | 80/tcp | browser-based HMI and SCADA software | HTTP | http://advantech.vo.llnwd.net/o35/www/webaccess/driver_manual/Advantech-WebAccess-Quick-Start-Guide.pdf
Advantech | EKI-7659C, EKI-7657C | admin:admin | 80/tcp | industrial switch | HTTP | http://www.rts.ua/catalog/advantech/pdf/EKI-7659C_2_201316.pdf
Advantech | SNMP-1000, MIC-3924 | advantech:admin | serial port | system management module, intelligent chassis management module |  | http://support.elmark.com.pl/advantech/pdf/SNMP-1000man.pdf, https://ecauk.com/files/2011/08/Advantech-MIC-3924-User-Manual.pdf
Alcatel-Lucent | OmniSwitch 6250 | admin:switch | 80/tcp, 23/tcp | switch | HTTP, Telnet | https://dariusfreamon.wordpress.com/tag/defaults/
Allied Telesis | IE200 Series: AT-IE200-6GT, AT-IE200-6GP, AT-IE200-6FT, AT-IE200-6FP | manager:friend | terminal or terminal emulator program | Industrial Ethernet Switches |  | http://www.alliedtelesis.com/userfiles/file/IE200_InstallGuide_RevC.pdf
Alstom | KVGC202/EN/M/E11, MiCOM P141/P142/P143/P342/P343/P344/P345/P346/P391 | AAAA |  | Relays |  | https://www.gegridsolutions.com/alstomenergy/grid/Global/Grid/Resources/Documents/Automation/Technical%20manuals/KVGC202%20Manual%20GB-epslanguage=en-GB.pdf, https://www.gegridsolutions.com/AlstomEnergy/grid/TechnicalManuals/P14x/P14x_EN_T_C54.pdf
Argus | Argus Address Manager | argus:argus |  | Address Manager Software |  | https://dariusfreamon.wordpress.com/2015/07/11/argus-suite-multiple-default-credentials/
Argus | Argus Messenger | ArgusAdmin:masterkey |  | Messenger |  | https://dariusfreamon.wordpress.com/2015/07/11/argus-suite-multiple-default-credentials/
Astute Medical | ASTUTE140 Meter | 1234:1234 |  | analyzer |  | https://dariusfreamon.wordpress.com/2015/07/11/astute-medical-astute140-meter-default-user-credentials/
B&B ELECTRONICS | CR10 v2 | root:root | 80/tcp | Industrial router | http | http://tekniska.pl/downloadfile/1400014902-1208342584-pdf
B&B ELECTRONICS | Conel 4.0.1 | root:root | 80/tcp | Industrial router | http | http://conel.ru/shared/files/201502/9_411.pdf
B&B ELECTRONICS | ER75i/ER 75i DUO/ER 75i SL/ER75i v2 | root:root | 80/tcp | Industrial router | http | http://ec-mobile.ru/user_files/File/Conel/ER75i_Manual_RUS.pdf
B&B ELECTRONICS | ES1A | root:dbps | 80/tcp | Converter | HTTP | http://www.bb-elec.com/Products/Manuals/pn-6909-rev003_ES1A-5012m.pdf
B&B ELECTRONICS | LR77 v2 Libratum/LR77 v2 | root:root | 80/tcp | Industrial router | http | http://www.induowireless.com/wp-content/uploads/2014/12/lr77-v2-libratum-manual.pdf, http://data.kommago.nl/files/pdf/conel-lr77_v2-handleiding.pdf
B&B ELECTRONICS | SPECTRE Router | root:root | 80/tcp | Router | http | b&b electronics SPECTRE Router.pdf
B&B ELECTRONICS | UCR11-v2/UCR11 v2 SL | root:root | 80/tcp | Industrial router | http | http://www.induowireless.com/wp-content/uploads/2014/03/ucr11-3g-router-hspa-cdma.pdf
B&B ELECTRONICS | UR5i v2 | root:root | 80/tcp | Industrial router | http | http://www.cd.lucom.de/vpn-industrie-router/dokumentation/handbuch/ur5iv2-guide.pdf
B&B ELECTRONICS | Vlinx MESR9xx Modbus Gateway | <blank> |  | Modbus Gateway |  | https://www.manualshelf.com/manual/b-b-electronics/vlinx-mesr9xx/modbus-gateway-brochure/page-31.html
B&B ELECTRONICS | Vlinx VESR4x4 | <blank> |  | SERIAL SERVER |  | http://www.bb-elec.com/Products/Manuals/VESP211-5012m.pdf
B&B ELECTRONICS | XR5i v2E/XR5i v2/XR5i/XR5i SL | root:root | 80/tcp | Industrial router | http | http://www.cd.lucom.de/vpn-industrie-router/dokumentation/handbuch/xr5iv2e-guide.pdf
BK Ultrasound | bk3000 | administrator:superuser |  | Ultrasound System |  | https://dariusfreamon.wordpress.com/2015/07/12/bk-medical-aps-bk3000-ultrasound-system-default-credentials/
Barco | MediCal QAWeb Agent | Advanced:advanced |  | client application |  | https://dariusfreamon.wordpress.com/2015/07/10/barco-medical-qaweb-agent-default-password/
Beck IPC | IPC@CHIP | PPPSERVER:, ppps:ppps |  | PLC | pap/chap | https://www.beck-ipc.com/files/api/scxxx/config.htm
Beck IPC | Â IPC@CHIP | PPPSERVER:, ppps:ppps |  | PLC | pap/chap | https://www.beck-ipc.com/files/api/scxxx/config.htm
Beckhoff Automation GmbH | CX5020 | webguest:1 | 23/tcp | PLC | Telnet | https://www.researchgate.net/publication/272420507_ICSSCADA_Security_Analysis_of_a_Beckhoff_CX5020_PLC
Beckhoff Automation GmbH | TwinCAT | Administrator:1 |  | Software for the Windows control and automation technology |  | https://infosys.beckhoff.com/english.php?content=../content/1033/sw_os/html/cx1000_os_xpe_geninfo.htm&id=
BinTec Elmeg | BinTec R230aw | admin:funkwerk |  | Router |  | http://www.tomshw.it/forum/banda-larga/154194-router-bintec.html
BinTec Elmeg | BinTec X1200 II | admin:bintec, |  | Router |  | http://www.router-defaults.com/Router/BinTec--x1200-ip-password-username
BinTec Elmeg | Bintec W2002T-n | admin:funkwerk, admin:admin |  | WLAN Access Point for applications in rolling stocks |  | http://www.bintec-elmeg.com/download.php?src=portal/downloadcenter/dateien/w2002tn/documentation/Notes-default-password-standard-passwort.pdf&system_id=138324
BinTec Elmeg | any routers | ( / (##unknown - means not known or any char):, ##unknown:snmp-Trap , suggested:, admin:1234, admin:password, admin:admin |  | Router |  | http://www.router-defaults.com/Router/BinTec--x1200-ip-password-username
CAREL | IR33-DN33 Universale series | 77 (Setting type c, d, F parameters) |  | pressure, humidity and temperature controllers |  | http://www.temperature-house.com/cms-files/Carel_IR33_Manual_for_Warming_Oven.pdf
CAREL | PlantVisorPRO Locale | admin:admin | 443/tcp | Plant supervision | HTTPS | http://www.alltyperefrigeration.com.au/logos/monitoring/quick_guide.pdf
CAREL | PlantWatchPRO | PVRemote:PD35010 (from a remote PC via a telephone connection) | 80/tcp | supervisor for small-medium installations | HTTP | http://www.carel.co.th/documents/10191/0/%2B040000021/4b549ef7-3d35-4454-bc04-91ba26aa945d?version=1.0
CAREL | Universal Infrared Series | 22 (enter and modify parameters C0, C13, 15 and 16 in addition to all ¨¹P¨¹ parameters), 77 (enter and modify all parameters) / 22 (enter and modify parameters C0, C13, 15 and 16 in addition to all âPâ parameters), 77 (enter and modify all parameters) |  | pressure, humidity and temperature controllers |  | http://www.tempatron.co.uk/resources/product/manual_76.pdf
CAREL | easy/easy compact/easy split, PJ32V/PJ32W/PJ32Z | 22 (access to the parameters) |  | electronic microprocessor controllers, plug-in electronic digital thermostat |  | http://www.tempatron.co.uk/resources/product/manual_79.pdf, http://www.tempatron.co.uk/resources/product/manual_77.pdf
CAREL | humiSteam x-plus | 77 |  | humidifiers |  | http://www.airsystems.ro/assets/manual-humisteam-xplus--0300040en.pdf
CAREL | ir33 platform: ir33, ir33 power, ir33 DIN, powercompact, powercompact small, mastercella | 22 (access to the parameters), 66 (download activation password) |  | integrated electronic microprocessor controllers with LED display |  | http://www.tempatron.co.uk/resources/product/manual_80.pdf
CAREL | pCOWeb | root:froot, carel:fcarel, guest:fguest, httpadmin:fhttpadmin (ftp), admin:fadmin (http), passwordless accounts via telnet: http::48:48:HTTP users:/usr/http/root:/bin/bash, nobody::99:99:nobody:/var/lib/nobody:/bin/bash | 21/tcp, 80/tcp | communication card | FTP, HTTP | http://www.carel.com/documents/10191/0/%2B030220471/9619472f-f1c0-4ec9-a151-120aaa5e479a?version=1.0, https://packetstormsecurity.com/files/121716/CAREL-pCOWeb-1.5.0-Default-Credential-Shell-Access.html
CAREL | pRack PR100 | user password: 0000, service password: 1234, manufacturer password: 1234 |  | compressor rack controller |  | http://www.carel-cz.cz/dokumentace/chlazeni/pRack/pRack_Quick%20guide.pdf
CAREL | Î¼C2SE | Direct level: <blank>, user level: 22, super user level: 11, factory level: 66 |  | electronic controller |  | http://planetaklimata.com.ua/instr/Carel/Carel_mC2SE_User_Manual_Eng.pdf
Carlo Gavazzi | PowerSoft | admin:admin, user:user |  | modular software |  | https://www.gavazzionline.com/pdf/PowerSoftIMENG.pdf
ClimateWorx International | In-Row M52 Microprocessor | 1024 (Service level) |  | controller |  | http://www.climateworxinternational.com/pdf/manuals/In_Row_Controller_User_Guide.pdf
ClimateWorx International | M52 Microprocessor | Level 1: 1024, level 2: 4321, level 3: 1234 |  | controller |  | http://www.climateworxinternational.com/pdf/manuals/m52umCT.pdf
ClinicPro | ClinicPro EMR | admin:abc123 |  | Electronic Medical / Health Records Software |  | https://dariusfreamon.wordpress.com/2015/07/11/clinicpro-default-admin-credentials/
Compumedics | E-Series EEG, E-Series EEG/PSG, Siesta and Safiro data acquisition systems and the ProFusion EEG data acquisitionand analysis software | 0000 (security dialogue password) |  | Electroencephalograph Systems,data acquisition systems, HMI software |  | https://dariusfreamon.wordpress.com/2014/08/29/compumedics-software-default-password/
Contemporary Control Systems | BASRT-B | admin:admin | 80/tcp | Router | http | http://www.ccontrols.com/pdf/TD0712000I2.pdf
Datasensor | UR5i/UR5i SL | root:root | 80/tcp | Router | http | http://datasensor.de/sites/datasensor.de/files/datasheets/UR5i_m_e.pdf
Datex-Ohmeda | S/5 Light Monitor | 16-4-34 |  | portable vital signs monitor |  | https://dariusfreamon.wordpress.com/2014/08/28/datex-ohmeda-s5-light-monitor-default-installservice-menu-password/
Deif | AWC 500 | root:deif7800 (administrator), default:1234 (user) |  | Advanced Wind turbine Controller |  | http://www.deifwindpower.com/Files/Files/Documentation/Products/AWC-500/4189340733_AWC_500_Getting_started.pdf
Digi | ConnectPort TS 4x4, ConnectPort TS 4x2, ConnectPort TS W, ConnectPort TS 8, ConnectPort TS 8 MEI, ConnectPort TS 16 | root:dbps | 80/tcp | Terminal Server | http | http://ftp1.digi.com/support/documentation/90000565_P1.pdf
Digi | DC-ME-01T-S | root:dbps |  | Networking Modules | http | http://www.digi.com/support/forum/13553/digi-connect-me-default-password
Digi | Digi CM | root:dbps | console port (9600, 8, N, 1) | Industrial router |  | http://ftp1.digi.com/support/documentation/90000300_E.pdf
Digi | Digi Connect ES 4/8 SB with Switch, Digi Connect ES 4/8 SB | root:dbps | 80/tcp | Concentrator | http | http://ftp1.digi.com/support/documentation/90000565_P1.pdf
Digi | Digi Connect SP,Digi Connect Wi-SP,Digi Connect ME,Digi Connect ME 4 MB,Digi Connect Wi-ME,Digi Connect EM,Digi Connect Wi-EM | root:dbps | 80/tcp | Network Device Server Module | http | http://ftp1.digi.com/support/documentation/90000565_P1.pdf
Digi | Digi Connect WAN, Digi Connect WAN GPRS, Digi Connect WAN GSM-R, Digi Connect WAN VPN, Digi Connect WAN IA, Digi Connect WAN 3G, Digi Connect WAN 3G IA, Digi Connect WAN 4G | root:dbps | 80/tcp | Industrial router | http | http://www.acspl.com.au/Manuals/digi_Wan.pdf
Digi | Digi TransPort WR21/WR44 | username:password | 80/tcp | Industrial router | http | http://ftp1.digi.com/support/documentation/transport/assets/guides/IG_Digi_WR21.pdf
Digi | DigiOne IAP Serial | root:dbps | 80/tcp | Gateway | http | http://web-material3.yokogawa.com/IMMW100EIP.pdf
ENTES | DTR-10, MCB-125/126 | 0 / 0000 |  | time relay |  | http://www.entes.com.tr/dosyalar/DTR-10%20EN%20A5299%20R2.pdf, http://www.entes.com.tr/dosyalar/mcb-125-126%20EN_.pdf
ENTES | EMG-10, EMG-02 , EMG-12 | emg12 (for EMG12), emg10 (for EMG10), emg02 (for EMG02) | 80/tcp | MODBUS Gateway | http | http://www.entes.com.tr/dosyalar/EMG_Series_EN-ver_2_2.pdf
ENTES | ENTBUS PLUS | admin:1234 |  | Energy Management Software |  | http://www.entes.com.tr/dosyalar/ENTBUS%20Plus_Client_EN.pdf
ENTES | EPM-04/04C/04CS | 0 / 0000 |  | MULTIMETER |  | http://www.produktinfo.conrad.com/datenblaetter/125000-149999/128714-an-01-en-ENTES_EPM_04C_DIN_DIGITALMULTIMETER.pdf
ENTES | GEM-05/GEM-10/10SH | gem10 | 80/tcp | GPRS/Modbus Gateway | HTTP | http://www.produktinfo.conrad.com/datenblaetter/125000-149999/128714-an-01-en-ENTES_EPM_04C_DIN_DIGITALMULTIMETER.pdf
ENTES | MPR-53CS | 0 / 0000 |  | network analyzer |  | http://www.entes.com.tr/dosyalar/MPR_53CS_ing_A4396_R2%20.pdf
ENTES | MPR-SW | admin:<blank> |  | Monitoring & Reporting Software |  | http://tde-instruments.de/images/stories/produkte/MPR-SW2_Software_fuer_Fernueberwachung/entes_mpr-sw2-software-instruction_manual.pdf
Echelon | LumInsight | Echelon:echeloncorp |  | Central Management System |  | http://www.echelon.com/assets/blt3db1ad5ba909f610/LumInsight%20CMS%20Installation%20Guide_078-1059-01C.pdf
Echelon | i.LON SmartServer | for ftp and lns servers: ilon:ilon |  | Programmable Modules | ftp, L2TP | http://www.unicom-bg.com/pdf/systemintegration/iLONproducts/i.LON_SmartServer_Freely_Programmable_Modules_User_Guide.pdf
Echelon | i.LON SmartServer, i.LON SmartServer 2.0, i.LON 600, i.LON 100e4 | ilon:ilon | 80/tcp | Building Energy Management Solution, LonWorks/IP Server, Internet Server | HTTP | https://dariusfreamon.wordpress.com/2013/05/10/echelon-i-lon-defaults/
Electro Industries/GaugeTech | Communicator EXT 3.0 | eignet:inp100 | 80/tcp | Power Monitoring Software | HTTP | http://www.electroind.com/pdf/11_13_12_pdf/E107707_ComEXT_Manual.pdf
Electro Industries/GaugeTech | Nexus 1500+, Nexus 1500 | anonymous:anonymous | 80/tcp | Power Quality Meter | HTTP | http://www.electroind.com/products/Nexus_1500+/pdf/manuals/Nexus%201500+%20Power%20Quality%20Meter%20User%20Manual%20V.1.01_E154713.pdf, http://www.electroind.com/products/Nexus_1500/pdf/manuals/Nexus%201500%20Transient%20Recording%20Power%20Quality%20Revenue%20Meter%20User%20Manual%20V.1.12_E154701.pdf
Emerson | AMS Suit | admin:<blank>, sa:42Emerson42Eme (SQL Server) |  | diagnostic software |  | http://www2.emersonprocess.com/siteadmincenter/PM%20Asset%20Optimization%20Documents/ProductReferenceAndGuides/amsdm_ru_quickinstallv12.pdf, http://www2.emersonprocess.com/siteadmincenter/PM%20Asset%20Optimization%20Documents/ProductReferenceAndGuides/amsdm_ru_installguide13.pdf
Emerson | Avocent ACS 6000 Advanced Console Server | admin:avocent, root:linux |  | Console Server | console port, with Telnet, SSH | http://pcs.mktg.avocent.com/@@content/manual/590767501h.pdf
Emerson | Control Link Refrigeration System Controller | 0 / 0000 |  | Controller |  | http://foodservice.structuralconcepts.com/media/com_sccmanager/temp-controller-info/emerson-control-link-cpc-controller.pdf
Emerson | ControlWave Micro Quick | for download project:, SYSTEM:666666 |  | PLC |  | http://www.documentation.emersonprocess.com/groups/public/documents/users_guide/d301425x012.pdf
Emerson | DeltaV Digital Automation System | Administrator:deltav |  | Automation System |  | http://www.chem.mtu.edu/chem_eng/current/new_courses/CM4120/2009/Getting%20Started.pdf
Emerson | IP-KVM Avocent MergePoint Unity | Admin:blank |  | Switch | local, HTTP | http://community.emerson.com/networkpower/support/avocent/kvmip/mpunity/w/wiki-mergepoint-unity/363.default-user-name-and-password-for-the-mergepoint-unity-kvm-over-ip-appliance
Emerson | Liebert IntelliSlot Web Card | Liebert:Liebert, User:User | 23/tcp | Web Card | telnet | http://www.emersonnetworkpower.com/documentation/en-us/products/monitoring/documents/sl-52615.pdf
Emerson | Liebert OpenComms Web Card | Liebert:Liebert | 80/tcp | Web Card | HTTP | http://www.emersonnetworkpower.com/documentation/en-us/products/monitoring/documents/sl-52610.pdf
Emerson | Network Power MPH2 Rack PDU | admin:admin | 80/tcp | Rack PDUs | http | https://community.emerson.com/networkpower/support/avocent/power/mph2/m/mediagallery/3093
Emerson | Ovation DCS | SNMP community string: wdpfRO / wdpf |  | Switch for Distributed Control System | SNMP / Telnet | https://supportforums.cisco.com/sites/default/files/legacy/0/3/9/11930-cs2.txt
Emerson | ROCLINK 800 | LOI:1000 |  | Software | Console | http://www.documentation.emersonprocess.com/groups/public/documents/instruction_manuals/d301159x012.pdf
Emerson | Smart Wireless Gateway 1420 | admin:default, maint:default, oper:default, exec:default | 80/tcp | Wireless Gateway | http | http://www2.emersonprocess.com/siteadmincenter/PM%20Rosemount%20Documents/00809-0200-4420.pdf
Emerson | Smart Wireless Navigator | for the Windows log in Administrator:navigator, for Smart Wireless Navigator log in Supervisor:Admin, User1:Password1, User2:Password2, User3:Password3 |  | stand-alone network infrastructure management tool |  | http://www2.emersonprocess.com/siteadmincenter/pm%20rosemount%20documents/00809-0100-4423.pdf
Emerson | UL33 UPS | 123456 |  | UPS | Serial | http://www.emersonnetworkpower-partner.com/ArticleDocuments/4091/UL33%20User%20Manual%20Communication.doc.aspx
Emerson | UltraSite | User 01:100, User 05:200, User 09:300, Engineer:400 |  | Software |  | http://www.emersonclimate.com/Documents/Retail%20Solutions/Manuals/0261004Rev1.pdf
Endress+Hauser | Fieldgate FXA520 | super:super | 80/tcp | Gateway for remote monitoring and diagnosis | HTTP | https://portal.endress.com/wa001/dla/5000241/6638/000/03/BA00051SEN_1514.pdf
Endress+Hauser | Fieldgate Viewer | admin:0000 |  | HMI software |  | https://dariusfreamon.wordpress.com/2013/10/15/endresshauser-fieldgate-viewer-default-credentials/
Falcon | USHA | USHA:admin | 80/tcp | UPS SNMP HTTP AGENT | HTTP | https://dariusfreamon.wordpress.com/2016/01/28/falcon-usha-ups-snmp-http-agent-default-admin-credentials/
General Electric | SymDec 4, WebServer, SymNav | Software: admin:admin, 12345 (Log In Password), Hardware: 0000 (Advanced Menu Password), 8111 (Factory Password), 1111 (Ethernet Access Reset Password), 2222 (DDNS Password) | 80/tcp | Video Streaming Recorder | HTTP | http://static.interlogix.com/library/0150-0304c_symdec_4_uman.pdf
General Electric Digital Energy | SNMP/Web Interface | GE:GE (Telnet, HTTP), public (SNMP community string) | 23/tcp, 80/tcp, 25/tcp | SNMP/Web Interface | Telnet, HTTP, SNMP | http://www.lenz.pl/files/product/17678774a663fb06a1068b6cc0342292.pdf
General Electric Healthcare | Datex-Ohmeda EngstrÃ¶m Ventilator | 23-17-21 (Super User), 34-22-14 (service-level) |  | Carestation Ventilators |  | http://static.medonecapital.com/manuals/techManuals/Datex-Ohmeda-Engstrom-VentilatorTechnical-Manual.pdf
General Electric Healthcare | Discovery CT590 RT, Optima CT580 | root:
General Electric Healthcare | FASTlab Synthesizer | Admin:admin |  | synthesizer |  | https://dariusfreamon.wordpress.com/2015/07/12/ge-healthcare-fastlab-synthesizer-default-credentials/
General Electric Healthcare | HiSpeed CT/i, Lightspeed QX/i | root: / root:#bigguy, ctuser:4$apps |  | Computed Tomography Scanner |  | https://dariusfreamon.wordpress.com/2014/09/04/ge-medical-systems-hispeed-cti-system-multiple-default-accounts/
General Electric Healthcare | TRACERlab FX2 M | tracerlab:tracerlab (for remote access), admin:tracerlab |  | chemistry synthesizer |  | https://dariusfreamon.wordpress.com/2015/07/12/ge-healthcare-tracerlab-fx2-m-multiple-default-credentials/
General Electric Healthcare | TRACERlab FX2 devices (model C, MeI and N) | admin:tracerlab (physical access required) |  | Synthesis module |  | https://dariusfreamon.wordpress.com/2015/07/12/ge-healthcare-tracerlab-fx2-default-admin-credentials/
General Electric Intelligent Platforms | IC695ECM850 | admin:system | 23/tcp (telnet) or USB | IEC 61850 Client | telnet | http://platforma.astor.com.pl/files/getfile/id/6314, as referenced by http://www.pdfsupply.com/pdfs/gfk-2849.pdf
General Electric Intelligent Platforms | IC695ETM001, IC695CPE305, IC695CPE310, IC695CPE330, IC698ETM001, IC698CPE010, IC698CPE020, IC698CRE020, IC698CPE030, IC698CPE040, IC698CRE030, IC698CRE040 | system | 18245/udp | Ethernet module/programmable controller |  | http://platforma.astor.com.pl/files/getfile/id/7823
General Electric Intelligent Platforms | IC695PNC001 | admin:system | 23/tcp (telnet) or USB | PROFINET Controller | telnet | http://platforma.astor.com.pl/files/getfile/id/6314
General Electric Intelligent Platforms | IC698CPE030, IC698CPE040, IC698CRE030, IC698CRE040 | user:system | 21/tcp | Programmable controller with built-in web server | ftp | http://platforma.astor.com.pl/files/getfile/id/9043
Heatmiser | Netmonitor | admin:admin | 80/tcp | gateway between the outside world and heating system | HTTP | http://www.thefloorheatingwarehouse.co.uk/acatalog/netmonitor_user_v3.pdf
Helmholz Systeme | NETLink PRO HW 1-1a-1 and FW 1. 54 and higher | NETLink PRO PoE:admin |  | Ethernet Gateway for MPI/PROFIBUS | HTTP | https://www.helmholz.com/dnl/NETLink_PRO_PoE_QSG_v2_en.pdf
Hirschmann | EAGLE 20 | admin:private, user:public | 443/tcp | Industrial ETHERNET Firewall | HTTPS | https://dariusfreamon.wordpress.com/2013/09/05/hirschmann-automation-and-control-eagle-20-defaults/
Hirschmann | MACH 4000 Family/MACH 1000 Family/MACH 100 Family/MACH 4002 Family/MACH104 Family Full Gigabit/MACH 1040 Family Full Gigabit | user:public, admin:private |  | Industrial router |  | Hirschmann MACH1040 Full Gigabit.pdf, Hirschmann MACH4002 Family.pdf, Hirschmann MACH1000 Family.pdf, Hirschmann MACH4000 Family.pdf, http://www.industrialcomms.co.uk/images/pdf/IG_MACH104_02_1210_en.pdf, http://www.industrialcomms.co.uk/images/pdf/IG_MACH100_03_0709_en.pdf
Hirschmann | OCTOPUS 8M..., OCTOPUS 16M..., OCTOPUS 24M¨¹¦¢,user:public | admin:private" | 23/tcp | Industrial router | telnet | https://www.neteon.net/media/downloads/IG_Octopus8M16M24M_PoETrain_02_0708_en_1.pdf
Hirschmann | OCTOPUS 8M..., OCTOPUS 16M..., OCTOPUS 24Mâ¦ | user:public, admin:private | 23/tcp | Industrial router | telnet | https://www.neteon.net/media/downloads/IG_Octopus8M16M24M_PoETrain_02_0708_en_1.pdf
Hirschmann | RS20/RS30, MICE | user:public, admin:private | 80/tcp | Switch | http | http://www.wwsinternational.com.au/Hirschmann/pdf/quickstart.pdf;, Hirschmann MICE.pdf
Hirschmann | RSP 20/25/30/35 | user:public, admin:private | 23/tcp (telnet) | Industrial router | telnet | http://www.prosoft.ru/cms/f/456864.pdf
Hitachi | EUB-550 | Service Tools:SERVICETOOL |  | Ultrasound Diagnostic Scanner |  | https://dariusfreamon.wordpress.com/2014/08/25/hitachi-eub-5500-ultrasound-diagnostic-scanner-default-password/
Hitachi | Web Controller | admin:1111 | 80/tcp | controller | HTTP | http://www.fhpsa.com/01_Biblioteca/03_Manuales/EH-W_NJI441E(X).pdf
HollySys Automation Technologies | LK SERIES PLC | FTP blank, Telnet blank | 21/tcp, 23/tcp | PLC | FTP, Telnet | http://plcscan.org/blog/2014/12/hollysys-lk-series-plc-system-default-password-vulnerability/
Honeywell | Alerton BCM-WEB | pass |  | BACtalk control module, Web server and Configurator CD |  | https://dariusfreamon.wordpress.com/2015/05/01/honeywell-alerton-bcm-web-default-admin-credentials/
Honeywell | Honeywell XL | Guest:guest, SysAdmin:honey | 80/tcp | Controller | HTTP
Honeywell | NetAXS | admin:admin | 443/tcp | access control unit | HTTPS | https://www.honeywellaccess.com/documents/UserManual_for_Release_3-800-04410-A.pdf
IBM | 2210 | def:trade |  | Multiprotocol Router |  | http://www.governmentsecurity.org/_/articles/default-logins-and-passwords-for-networked-devices.html
Kostal Solar | PIKO-Inverter 3.0, 3.6, 4.2, 5.5, 7.0, 8.3, 10.1, PIKO BA Storage System | pvserver:pvwr | 80/tcp | solar inverter, storage system | HTTP | http://www.kostal-solar-electric.com/Standalone/MediaDispositionViewer.aspx?medid=7a7356e144fd48b0b8557c4249cb35fd, https://dariusfreamon.wordpress.com/2014/01/15/kostal-solar-piko-ba-storage-system-web-interface-default-admin-credentials/
LOYTEC Electronics | L-DALI DALI Light Controller, L-INX Automation Server, L-GATE Universal Gateway, L-IP CEA-709/IP Router, L-VIS, LIOB-10x I/O Module, LIOB-x5x I/O Module, LIP-ME20X L-IP BACnet Router, LWEB-802, LWEB-803, LWEB-900 Building Management System | admin:loytec4u | 80/tcp | Multiple Devices | HTTP | https://dariusfreamon.wordpress.com/2016/02/01/loytec-electronics-multiple-devices-web-interface-default-admin-credentials/
LOYTEC Electronics | L-Proxy CEA-709 Gateway | admin:admin | 80/tcp | Gateway | HTTP | https://dariusfreamon.wordpress.com/2016/02/01/loytec-electronics-multiple-devices-web-interface-default-admin-credentials/
Lantronix | EDS-MD 4, EDS-MD 8, EDS-MD 16 | admin:PASS | 80/tcp | Medical Device Server | HTTP | https://dariusfreamon.wordpress.com/2015/07/11/lantronix-eds-md-medical-device-server-web-interface-default-admin-credentials/
Metrobility | NetBeacon Element Management Software | guest:guest, admin:admin, root:root | 23/tcp | HMI Software | Telnet | https://dariusfreamon.wordpress.com/2014/09/02/netbeacon-element-management-software-multiple-default-credentials/
Mitsubishi | MES3-255C-EN | ecoV:ecopass, guest:user |  | Web server |  | https://dariusfreamon.wordpress.com/2014/02/28/mitsubishi-energy-saving-data-collecting-server-ecowebserver-iii-mes3-255c-en-default-credentials/
Mitsubishi | PLC QnUCPU QnUDE(H)CPU | QNUDECPU:QNUDECPU | 21/tcp | PLC | FTP, HTTP | http://dl.mitsubishielectric.com/dl/fa/document/manual/plc/sh080811eng/sh080811engp.pdf
Mitsubishi | PLC QnUCPU QnUDVCPU | MELSEC:MELSEC | 21/tcp | PLC | FTP, HTTP | http://dl.mitsubishielectric.com/dl/fa/document/manual/plc/sh080811eng/sh080811engp.pdf
Moxa | AirWorks AWK-3131-RCC | admin:root | 80/tcp | Industrial 802.11n wireless AP/bridge/client | HTTP | http://www.moxa.com/doc/man/AWK-3131-RCC_UM_1e.pdf
Moxa | Cellular Micro RTU Controller (ioLogik W53xx, ioLogik) | administrator:blank, Telnet on port 9900 / 9000: root:root | 9900/9000/tcp | micro RTU controller | telnet or serial console | http://www.toolswatch.org/2013/02/new-scada-default-passwords-added-to-dpe-xml-database/
Moxa | EDS-508A/505A Series | admin:<none> |  | Switch | telnet or serial console | http://www.moxa.com/doc/man/eds-508a_505a_um_4e.pdf
Moxa | IA240/241 Embedded computer | telnet root:root, FTP root:blank, PPP root:root, serial console root:root |  | Embedded computers are designed for industrial, automation applications | Telnet, FTP, PPP, serial console | http://www.toolswatch.org/2013/02/new-scada-default-passwords-added-to-dpe-xml-database/
Moxa | OnCell Central Manager | admin:admin | 8080/tcp | Software | HTTP | http://www.moxa.ru/files/manuals_modems/oncell_central_manager_users_manual_v1.pdf
Moxa | OnCell G3100 Series | HTTP admin:admin, HTTP Admin:Keep <blank>, PAP admin:<blank> | 80/tcp | cellular IP gateways | Telnet, PAP | http://www.moxa.com/doc/man/OnCell_G3100_Series_Users_Manual_v7.pdf
Moxa | Railway Remote I/O (ioLogik E12xx, ioLogik E15xx) | HTTP on Port 9020: 1)none:root, 2)none:none | 9020/tcp | Remote Ethernet I/O | HTTP | http://www.toolswatch.org/2013/02/new-scada-default-passwords-added-to-dpe-xml-database/
Moxa | VPort 461 Industrial Video Encoder | admin:admin, <none>:<none> |  | Industrial Video Encoder | telnet | http://www.moxa.com/doc/man/VPort_461_UM_2e.pdf
NOVUS AUTOMATION | SuperView | superview:superview |  | SCADA |  | http://www.novusautomation.com/downloads/Arquivos/v29x_a_manual_superview_english.pdf
NOVUS Automation | AirGate-3G | admin:admin |  | Dual SIM Industrial Cellular VPN Router |  | https://dariusfreamon.wordpress.com/2016/02/02/novus-airgate-3g-dual-sim-industrial-cellular-vpn-router-default-admin-credentials/
NOVUS Automation | N1040, N480D, N960, N1020, N1040i, N1540, N2000, N3000 and N120 | 1111 (ACESS PASSWORD), 9 3 2 1 (MASTER PASSWORD) |  | Temperature Controller |  | https://dariusfreamon.wordpress.com/2015/04/18/novus-n1040-controller/
Netcomm Wireless | 3G21WB (BigPond Firmware), 3G9WB (BigPond Firmware), N3G001W (Netcomm Firmware), NB14WN (Netcomm Firmware), NB5 (Netcomm Firmware), NB5Plus4 (Netcomm Firmware), NB6Plus4 (Netcomm Firmware), NB6Plus4W (Netcomm Firmware), NNB7 (Netcomm Firmware), NB9WMAXX (Netcomm Firmware), NP804N (Netcomm Firmware) | admin:admin |  | Router |  | http://www.pcwintech.com/default-router-modem-passwords2
Netcomm Wireless | NB1300 Plus 4 (Netcomm Firmware), NP803N (Netcomm Firmware) | admin:password |  | Router |  | http://www.pcwintech.com/default-router-modem-passwords2
Nuance | Dragon Medical 360 Network Edition | admin:password | 80/tcp | Medical Speech Recognition Software Solutions | HTTP | https://dariusfreamon.wordpress.com/2015/07/11/dragon-medical-360-network-edition-nuance-management-console-default-admin-credentials/
Omron | NS-Series Programmable Terminals Web Interface (NS12-TS01-V2, NS10-TV01-V2, NS8-TV01-V2, NS5-SQ11-V2, NS5-TQ11-V2 and NS5-MQ11-V2) | default:default | 80/tcp | Programmable Terminals | HTTP | http://www.omronkft.hu/nostree/pdfs/ns/v100-e1-01.pdf
Omron IA | CJ1M CPU Units with Ethernet Functions | for http: ETHERNET, for ftp: CONFIDENTIAL | 80/tcp (http), 21/tcp (ftp) | PLC | http, ftp | http://omronkft.hu/nostree/pdfs/plc/cs1_cj1/w441-e1-03+cj-series-ethernetfunc+opermanual.pdf
Ouman | EH-net server | admin:admin |  | HMI Software |  | http://docplayer.fi/509891-Palvelin-eh-net-kayttoonotto-ja-yllapito-www-ouman-fi.html
PIPS Technology | AUTOPLATE | <blank> (Telnet), wl_test:wl_test, vesstore:vesstore, ftp_boot:ftp_boot (FTP) | 23/tcp, 21/tcp | license plate recognition system | Telnet, FTP | https://dariusfreamon.wordpress.com/2014/02/19/pips-technology-autoplate-automatic-license-plate-recognition-alpr-multiple-vulnerabilities/
Phasefale Controls | JouleTemp | admin:pass | 80/tcp | PLC | HTTP | http://phasefale.com.au/wp-content/themes/twentythirteen/docs/JouleRange/JouleTemp/jt_instruction_iss8.pdf
Phoenix Contact | Logic+ | admin:admin | 80/tcp | Software | http | https://www.phoenixcontact.com/assets/downloads_ed/global/web_dwl_technical_info/52005213_EN.pdf
Prosoft Technology | ICX30-HWC | admin:password | 80/tcp | Industrial Cellular Gateway | HTTP | http://www.prosoft-technology.com/content/download/8772/168219/version/9/file/ICX30_HWC_User_Manual.pdf
Rockwell Automation / Allen-Bradley | 1734-AENT | admin:password | 80/tcp | I/O Adapter | HTTP | http://literature.rockwellautomation.com/idc/groups/literature/documents/um/1734-um011_-en-p.pdf
Rockwell Automation / Allen-Bradley | 1756-EN2TSC | Administrator:admin | 80/tcp | EtherNet/IP communication module | HTTP | http://literature.rockwellautomation.com/idc/groups/literature/documents/um/enet-um003_-en-p.pdf
Rockwell Automation / Allen-Bradley | 1756-EWEB, 1768-EWEB | Administrator:<none> | 80/tcp | Web Server Module | HTTP | http://literature.rockwellautomation.com/idc/groups/literature/documents/um/enet-um527_-en-p.pdf
Rockwell Automation / Allen-Bradley | 9300-8EDM | HTTP: blank:ZYPCOM, Telnet: blank:ZYPCOM, FTP: uploader:ZYPCOM | 80/tcp, 23/tcp, 21/tcp | Industrial Switch | HTTP, Telnet, FTP | http://literature.rockwellautomation.com/idc/groups/literature/documents/um/gmsc10-um003_-en-e.pdf
Rockwell Automation / Allen-Bradley | 9300-RADES | HTTP: blank:ZYPCOM, Telnet: blank:ZYPCOM, FTP: uploader:ZYPCOM, CHAP/PAP: ppp_user:ZYPCOM | 80/tcp, 23/tcp, 21/tcp | Industrial Modem | HTTP, Telnet, FTP, CHAP/PAP | http://literature.rockwellautomation.com/idc/groups/literature/documents/um/gmsc10-um004_-en-e.pdf
Rockwell Automation / Allen-Bradley | MicroLogix 1400 / MicroLogix 1100 Embedded Web Server | guest:guest, administrator:ml1400 (MicroLogix 1400), administrator:ml1100 (MicroLogix 1100) | 80/tcp | Web Server | http | http://literature.rockwellautomation.com/idc/groups/literature/documents/um/1766-um002_-en-p.pdf, http,http://literature.rockwellautomation.com/idc/groups/literature/documents/um/1763-um002_-en-p.pdf
Rockwell Automation / Allen-Bradley | PanelView Plus 6 Graphic Terminals, Firmware 6.10 or later/, PVPlus 6 | password |  | SCADA | Desktop access | http://www.manualsdir.com/manuals/580848/rockwell-automation-2711p-xxxx-panelview-plus-6-terminals-user-manual.html?page=54
SAMSON GROUP | TROVIS 5590 Web Module | To read data 1111:1111, To change data 4444:4444 |  | Web Module |  | http://www.samsongroup.net/trovis-app/en-tv-page-102.htm
SMA Solar Technology | Sunny WebBox | Installer:sma | 80/tcp | ICS device for data logging | HTTP | https://dariusfreamon.wordpress.com/2015/05/02/sunny-webbox-default-password-and-denial-of-service/
Samsung | Integrated Management System DMS | root:rkwjsdusrnth |  | Data Management Server |  | http://www.tenable.com/plugins/index.php?view=single&id=53878
Samsung | Integrated Management System S-NET mini | DMS Connection: 0000 or 1234 |  | S-NET IMS |  | http://dvmdownload.com/controls/central-control-options/mst-s3w/technical-tip/SNET%20MINI%20MST-S3W%20SETUP_1%2017%202012.pdf
Schneider Electric | ETG100 | Administrator:Gateway |  | PLC |  | http://www.schneider-electric.co.in/sites/india/en/support/faq/main_faq.page?page=content&country=IN&lang=en&id=FA138738&locale=en_US&redirect=true
Schneider Electric | M258 | adm:adm | 80/tcp | PLC | http | http://ewon.biz/sites/default/files/aug-054-0-en-remote_access_for_schneider_m258_plcs.pdf
Schneider Electric | Modicon M340 for Ethernet | ntpupdate:ntpupdate (Using an FTP client, store your rules in the file:, /FLASH0/wwwroot/conf/NTP/customrules), USER:USER (FTP Setup page via HTTP, HTTP credentials), sysdiag:factorycast@schneider (FTP) | 21/tcp, 80/tcp | PLC | FTP, HTTP | https://dariusfreamon.wordpress.com/2013/12/08/schneider-modicon-m340-for-ethernet-multiple-default-credentials/, https://github.com/ITI/ICS-Security-Tools/blob/master/configurations/passwords/ics-default-passwords.csv
Schneider Electric | Modicon Premium | FTP: sysdiag:factorycast@schneider, HTTP: USER:USER | 21/tcp, 80/tcp | PLC | FTP, HTTP | https://github.com/ITI/ICS-Security-Tools/blob/master/configurations/passwords/ics-default-passwords.csv
Schneider Electric | Modicon Quantum | ftpuser/password, qbf77101/hexakisoctahedron, USER:USER | 21/tcp, 23/tcp, 80/tcp | PLC | HTTP, FTP, Telnet | http://www.digitalbond.com/tools/basecamp/schneider-modicon-quantum/, http://www.schneider-electric.cn/downloads//85257689000007EE/All/01507367599A9DC985257871005F4B3D/$File/EIO0000000121EN.pdf
Schneider Electric | PM8000, PM8240, PM8243, PM8244 | Physical: 0, FTP: 8000:<display password> | 21/tcp, 80/tcp | PLC | FTP, HTTP | http://www2.schneider-electric.com/sites/corporate/en/support/faq/faq_main.page?page=content&country=APS_GLOBAL&lang=en&locale=en_US&id=FA243275&redirect=true
Schneider Electric | POWERLOGIC EGX200 / EGX400 with firmware version 5.5 or higher | Administrator:admin, User 1:master, User 2:engineer, User 3:operator | 80/tcp | gateway-server | http | http://www.powerlogic.com/literature/63230-314-208A3.pdf
Schneider Electric | PowerLogic Ethernet Gateway EGX300 / EGX100 | Administrator:Gateway | 80/tcp | Integrated gateway-server | http | http://azzo.com.au/wp-content/uploads/2015/05/PowerLogic-EGX300-Users-Guide.pdf
Schneider Electric | PowerLogic ION7550 / ION7650 / ION8650 Energy and power meter | 0 |  | Energy and power meter |  | http://www2.schneider-electric.com/library/SCHNEIDER_ELECTRIC/SE_LOCAL/APS/209510_35F6/8650_Install_Guide.pdf, http://azzo.com.au/wp-content/uploads/2015/08/ION7550-RTU-UserGuide.pdf
Schneider Electric | PowerLogic Series 800 Power Meter | 0 / 0000 |  | PLC |  | http://www.powerlogic.com/literature/63230-500-282A1_PM8_Install_Guide.pdf
Schneider Electric | Quantum NOE 771 xx | pcfactory:pcfactory, loader:fwdownload, ntpupdate:ntpupdate, sysdiag:factorycast@schneider, test:testingpw, webserver:webpages, fdrusers:sresurdf, nic2212:poiuypoiuy, nimrohs2212:qwertyqwerty, nip2212:fcsdfcsd, noe77111_v500:RcSyyebczS (password hashed), AUTCSE:RybQRceeSd (password hashed), AUT_CSE:cQdd9debez (password hashed), target:RcQbRbzRyc (password hasshed), FTP and HTTP Service: USER:USERUSER, USER:USER, ftpuser:ftpuser (FTP) | 21/tcp, 80/tcp | Ethernet Modules | ftp, http | https://igate.alamedaelectric.com/Modicon%20Documents/PLC%20Quantum%20PLC%20NOE771xx%20User%20Manual%20v5.0.pdf
Schneider Electric | TSX ETG 1000 | HTTP Server, PAP Protocol: USER:USER, FTP: wsupgrade:wsupgrade, Serial Connection: Administrator:Gateway | 21 TCP | PLC | FTP, PAP, HTTP | http://www.is-com.ru/files/net_tsxetg1000.pdf
Siemens | RUGGEDCOM ROX II for RX1500, RX1501, RX1510, RX1511, RX1512 | root:admin (service), admin:admin (administrator), oper:oper (operator), guest:guest (guest) |  | Ethernet Switches Layer 3 / Routers |  | https://cache.industry.siemens.com/dl/files/287/81194287/att_837966/v1/ROXII_v2.6_RX1500_User-Guide_CLI_EN.pdf
Siemens | RuggedSwitch RS8000 / RS1600 / RS900 | admin |  | Industrial router | RS232 | http://www.techsalesnw.com/oldwebsite/products/ethernet/rc_files/RuggedSwitch%20User%20Guide%20v1.5.1.pdf
Siemens | Ruggedcom RMC30 | admin:admin, operator:operator, guest:guest | 80/tcp | Industrial router | HTTP | http://www2.schneider-electric.com/resources/sites/SCHNEIDER_ELECTRIC/content/live/FAQS/239000/FA239168/en_US/ROS_RMC30_User-Guide_EN.pdf
Siemens | S7-1200 / S7-1500 | admin:blank | 80/tcp | PLC | HTTP | https://www.dmcinfo.com/latest-thinking/blog/id/8567/siemens-s7-1200-web-server-tutorial--from-getting-started-to-html5-user-defined-pages
Siemens | SC 7000 / SC 9000XL | 4712 (passcode, physical access required) |  | Patient Monitors Service |  | https://dariusfreamon.wordpress.com/2015/07/12/siemens-sc-7000-sc-9000xl-patient-monitors-default-admin-passcode/
Siemens | Scalance X-200, W788-1PRO, W788-2PRO, etc. | admin:admin (HTTP), user:user (HTTP), siemens:siemens (FTP) | tcp/80 | Industrial Wireless LAN, Industrial Ethernet Switches | HTTP, FTP | http://dariusfreamon.wordpress.com/2013/10/02/siemens-scalance-x-industrial-ethernet-switches/, https://cache.industry.siemens.com/dl/files/728/25508728/att_4008/v1/BA_SCALANCE-X-200_76.pdf, https://www.acunetix.com/vulnerabilities/network/vulnerability/siemens-scalance-default-credentials/
Siemens | Sicam SGU | 642935177 / admin@root:charleM!800 | 80/tcp / 9443/tcp | RTU | HTTP / HTTPS | http://w3.siemens.com/smartgrid/global/en/products-systems-solutions/substation-automation/remote-terminal-units/Pages/sicam-sgu.aspx
Siemens | Siemens Climatix | Level 6 End users: 1000 (Physical), Level 4 Service operator: 2000 (Physical), Level 2 OEM: 6000 (Physical), Web: ADMIN:SBTAdmin! | 80/tcp | PLC | HTTP | http://www.ivprodukt.se/documents/ivprodukt/documents/styr%20climatix/basis%20document%20climatix%20control%20system%20bdcx.100820.01.gb.pdf
Siemens | Siemens ST950 | root:zP2wxY4uE | 161/udp | Intersection controller | SNMPv3 | http://www.siemens.co.uk/traffic/en/index/productssolutionsservices/signalsandcontrollers/st950.htm
Siemens | Siemens WinCC 7.x | winccd:winccpass, wincce:winccpass, DMUser:Data&Pass, Administrator:Administrator |  | HMI Software |  | http://www.toolswatch.org/2013/02/new-scada-default-passwords-added-to-dpe-xml-database/
Siemens | Simatic S7-300 (pre-2009 versions) | Hardcoded password: Basisk:Basisk | 23/tcp, 80/tcp | PLC | telnet. Http | http://www.wired.com/2011/08/siemens-hardcoded-password/
Siemens | Synco living Web server OZW772 V2.0 | Administrator:Password | 80/tcp | Web-server | HTTP | http://www.toolswatch.org/2013/02/new-scada-default-passwords-added-to-dpe-xml-database/
Sierra Wireless | AirLink | sconsole:12345 / user:12345, viewer:12345 | 12345/tcp, 2332/tcp / 9191/tcp | 3G/4G gateway | http / telnet, ssh | official documentation
Sinapsi | eSolar | admin:admin | 80/tcp | Web-Server for photovoltaic applications | HTTP | http://www.sinapsitech.it/wp-content/uploads/2014/02/Handbook_standard_2.0_en.pdf
Stulz GmbH | Stulz WIB 8000 | Administrator, highest authorization: ganymed, Medium authorization: kallisto, Lowest authorization: europa |  | PLC |  | https://dariusfreamon.wordpress.com/2013/09/07/stulz-wib-8000-air-conditioning-web-interface-board-multiple-vulnerabilities/
TAC AB | TAC Xenta 500/700/911/913, TAC Xenta 511, TAC Xenta 527, | root:root |  | PLC |  | http://www.xref.be/dpdf/tac_xenta911_xenta511_manuel_uk.pdf
Tecomat | Tecomat Foxtrot | 0:0 (role 0) , 1:1 (role 1), 2:2 (role 2), 3:3 (role 3), 4:4 (role 4), 5:5 (role 5), 6:6 (role 6), 7:7 (role 7), 8:8 (role 8), 9:9 (role 9) |  | PLC |  | http://dsec.ru/ipm-research-center/notification-of-vulnerabilities/tecomat_plc_paroli_po_umolchaniyu/
Trafficware | ATMS.now | naztec:naztec |  | Advanced Traffic Management System |  | https://dariusfreamon.wordpress.com/2014/02/20/trafficware-atms-now-default-credentials/
Tridium | NiagaraAX | tridium:niagara |  | Software for JACE-2, JACE-403 or JACE-545 |  | http://www.hvacc.net/pdf/tridium/docs_3.2.16/docJaceStartup/docJaceStartup.pdf
Turck | BL20-E-GW-EN, BL67-E-GW-EN | HTTP: password, FTP: (unspecified hardcoded) | 21/tcp, 80/tcp | PLC | http | http://pdb.turck.de/media/_in/Anlagen/D301173.pdf,http://ics-cert.us-cert.gov/advisories/ICSA-13-136-01
Ubiquiti | AirControl | ubnt:ubnt | 9005/tcp | Web Management Application |  | https://dariusfreamon.wordpress.com/2015/04/16/ubiquiti-aircontrol-web-management-default-admin-credentials/
Ubiquiti | AirOS | ubnt:ubnt | 443/tcp | operation system | HTTPS | http://dl.ubnt.com/guides/airOS/airOS_UG.pdf
Wago | Modular I/O-System Linux Fieldbus Coupler 750-860 | root:wago , admin:wago, user:user , guest:guest |  | PLC |  | http://www.wago.com/wagoweb/documentation/750/eng_manu/coupler_controller/m07500860_00000000_0en.pdf
Wago | WAGO-I/O-IPC 758-870/000-xxx | http, ftp:, user:user00 , administrator:, su:ko2003wa | 80/tcp (http) | Compact Industrial PC?"http / Compact Industrial PCÂ | ftp" / http, ftp | http://www.wago.com/wagoweb/documentation/758/eng_manu/870/q07580870_00000000_2en.pdf
Wago | WAGO-I/O-SYSTEM?50 | admin:wago, user:user, guest:guest | 80/tcp | Controller | http | http://www.wago.spb.ru/upload/information_system_28/3/2/8/item_328/information_items_property_340.pdf
Wago | WAGO-I/O-SYSTEMÂ 750 | admin:wago, user:user, guest:guest | 80/tcp | Controller | http | http://www.wago.spb.ru/upload/information_system_28/3/2/8/item_328/information_items_property_340.pdf
WashTec | SoftCare Evo Type SE10 | 00001 (limited access), 00000 (unlimited access) |  | Roll-over car wash system |  | http://www.washtec.com.au/files/tech-data/SoftCare2%20EVO%20Manual.pdf
Wellintech | KingSCADA 3.0 | administrator:administrator (role KVAdministrator) |  | Software |  | http://www.slideshare.net/DefconRussia/pavel-volobuev-alexander-minozhenko-alexander-polyakov-practical-demonstration-of-typical-attacks-and-0days-in-scada-and-plccontrollers
Westermo | MRD-305-DIN/MRD-310/MRD-315/MRD-330/MRD-355/MRD-350/MRD-455 | admin:westermo | 80/tcp | Industrial router | http | http://www.eternity-sales.com/westermo/files/westermo_ug_6623-2266_mrd-305-DIN_en.pdf, Westermo MRD 330.pdf
Westermo | RedFox Series, Wolverine Series, Lynx Series, Falcon Series, Viper Series | admin:westermo | 80/tcp | Industrial router | http | http://www.westermosales.com/pdfs/westermo_mg_6101-3201_weos.pdf
Westermo | TDW 33 | no password, just return, Hardcoded password: n3Y9kA6otYZu8, (?? TD-36) |  | Industrial Modem |  | http://www.etitudela.com/entrenadorcomunicaciones/downloads/modemrtbtdw33manual.pdf
Wonderware | Historian | SQL Server Login: aadbo:pwddbo, wwdbo:pwddbo, aaAdmin:pwAdmin, wwAdmin:wwAdmin, aaPower:pwPower, wwPower:wwPower, aaUser:pwUser, wwUser:wwUser |  | SQL Server | SSMS | https://drive.google.com/folderview?id=0B8or_Z9VHNfCeFIwbEY5RUk5SDA&usp=sharing
Wonderware | Intouch | Administrator:Wonderware |  | SCADA |  | http://www.automation-talk.info/2011/01/default-intouch-login-username-password.html
Wonderware | System Platform/Archestra | administrator:blank |  | Integrated Development Environment |  | https://insource.mindtouch.us/Support_Tickets/Industrial_Application_Server/Installation%2F%2FConfiguration/028076_-_What_is_the_default_Administrator_username_and_password_for_the_Archestra_IDE
Xzeres | 442SR | MyTurbine:m442+SRt |  | small wind turbine |  | https://dariusfreamon.wordpress.com/2015/05/03/xzeres-442s-wind-turbine-web-interface-default-credentials/
Yokogawa | CENTUM CS 3000 DCS | CENTUM:CENTUM |  | Distributed Control System |  | http://www.allinterview.com/showanswers/170266/having-yokogawa-centum-cs-3000-dcs-2-fcs-4-operation-download-message-appears-eq.html
Yokogawa | DX1000/DX1000N/DX2000 Advanced | Administrator 1:Admin1, Administrator 2:Admin2, ..., Administrator 5:Admin5, User 1:User01, ..., User 90:User90 |  | Software |  | http://web-material3.yokogawa.com/IM04L41B01-05EN_020.pdf
Yokogawa | EJX910A Multivariable Transmitter HART Communication Type | YOKOGAWA. (to release the Write Protect mode), |  | Multivariable transmitter |  | http://www.controlswarehouse.com/sheets/meriam/EJX910HARTIM01C25R02-01E_001.pdf
Yokogawa | WT 3000 Driver | anonymous:blank (Ethernet access) |  | Precision Power Analyzer |  | http://www.electro-meters.com/Assets/pdf2_files/Yokogawa/Power_meters/WT3000_pdfs/WT3000%20Communication.pdf
Yokogawa | YFGW410 gateway | admin:!admin |  | Wireless Management Station |  | http://www.yokogawa.com/us/support/knowledgebase/i-cannot-login-to-the-yfgw410-gateway-what-is-the-default-username-and-password-of-a-yfgw410-isa100-gateway.htm
Zoe Medical | Nightingale PPM3 | Set Dial 1 to 49, Set Dial 2 to 48, Set Dial 3 to 46 |  | Vital Sign Monitor With CO2 |  | https://dariusfreamon.wordpress.com/2015/07/11/zoe-medical-nightingale-ppm3-default-passcode/
eWON | all | adm:adm | 80/tcp | Router | http | http://ewon.biz/sites/default/files/aug-004-0-en-ewon_getting_started.pdf

## ShodanDorks
Vendor | Product | Comment | Dorks
ABB | AC 800M | Controller | ABB AC 800M
ABB | Generic | Multiple Devices | ABB Webmodule
ABB | RTU500 | Remote Terminal Unit | ABB RTU-Helpdesk
ABB | RTU560 | Substation automation product | ABB RTU560
ABB | SREA-01 | Ethernet Adapter Module | ABB SREA-01
ACKP | Generic | Multiple Devices, often data center monitoring | AKCP Embedded Web Server
Adcon Telemetry | A440 Wireless Modem | Base Station | A440 Wireless Modem
Adcon Telemetry | A850 Telemetry Gateway | Base Station for Adcon Wireless Sensor Networks | A850 Telemetry Gateway
Adcon Telemetry | Generic | Generic | title:adcon
Adcon Telemetry | addUPI-OPC Server | . | addUPI Server
Adcon Telemetry | addVANTAGE Pro 6.X | HMI | addVANTAGE
Beck IPC | IPC@CHIP | PLC | IPC@CHIP
Carel | BACNet Devices | . | "Carel BACnet Gateway"
Carel | PlantVisor | . | "Server: CarelDataServer" "200 Document follows"
Carel | pCO sistema | pCOWeb is used to interface pCO Sistema to networks that use the HVAC protocols like BACnet IP Modbus TCP/IP or SNMP | title:'Carel pCOWeb Home Page'
Cimetrics | Eplus - B/IP to B/WS Gateway Firewall | networking products for distributed monitoring and control systems | Cimetrics Eplus Web Server
Clorius Controls A/S | ISC SCADA | SCADA Software | ISC SCADA Service HTTPserv:00001
CodeSys | . | . | 3S-Smart Software Solutions
CodeSys | WebVisu | . | Visu Remote Login
Codesys | . | . | port:2455 operating system
Codesys | WebVisu | . | Webvisu
Delta Controls | enteliTOUCH | HMI Building automation | DELTA enteliTOUCH
Echelon | i.LON SmartServer 2.0 | Building Energy Management Solution, LonWorks/IP Server, Internet Server | i.LON
Fronius | Generic | solar energy, most likely inverters | port:1883 Fronius
General Electric | . | Service Request Transport Protocol (GE-SRTP) | port:18245,18246 product:"general electric"
General Electric | CIMPLICITY WebView | CIMPLICITY is HMI/SCADA | CIMPLICITY WebView
General Electric | Cimplicity | CIMPLICITY is HMI/SCADA | CIMPLICITY-HttpSvr
General Electric | Proficy | Historian (now named GE Digital) | ProficyPortal
Generic | - | EtherNet/IP | port:44818
Generic | . | . / BACnet protocol (Data Communication Protocol for Building Automation and Control Networks) / IEC 60870 part 5 is one of the IEC 60870 set of standards which define systems used for SCADA in electrical engineering and power system automation applications. / Modus / Screenshots tagged as ICS (will contain some false positives) / The HART Communications Protocol (Highway Addressable Remote Transducer Protocol) is an early implementation of Fieldbus, a digital industrial automation protocol. / dnp / standard port for MQTT + MQTT banner / MQTT -> MQ Telemetry Transport / standard port for MQTT over SSL + MQTT banner / MQTT -> MQ Telemetry Transport / UNTESTED | Modbus Bridge / ModbusGW / SCADA / port:1883 "MQTT Connection Code" / port:20000 source address / port:2404 asdu address / port:47808 / port:502 / port:5094 hart-ip / port:8883 "MQTT Connection Code" / screenshot.label:ics / webSCADA
Generic | Generic | Generic | PLC name / PLC type
Generic | Industrial Ethernet system, open-source used by various vendoes | openPowerlink, ethernet-powerlink.org devices (PLC HMI ..) | Powerlink
Generic | goAhead embedded webserver | . | GoAhead-Webs InitialPage.asp
HMS | EtherNet/IP / Modbus-TCP Interface | Generic | HMS AnyBus-S WebServer
Heatmiser | . | wireless room thermostats | title:'Heatmiser Wifi Thermostat'
Honeywell EnergyICT | RTU | Remote Data Concentrator | EnergyICT RTU
Honeywell EnergyICT | eiPortal | Energy Monitoring Software | eiPortal
KW Software, Inc. | . | ProConOS / PLC | port:20547 PLC
Lantronix | . | . / default telnet port / default telnet port without password enabled hint: Lantronix includes MAC address in banner which can be used for extra validation | "Press Enter for Setup Mode" port:9999 / lantronix / lantronix port:9999 / port:30718 lantronix
Mitsubishi Electric | MELSEC-Q Series | . | port:5006,5007 product:mitsubishi
Motorola | Moscad | . | Moscad ACE
Movicon/Progea | . | Web-Client | MovWebClientX
Moxa | AirWorks AWK-3131-RCC/Railway Remote I/O (ioLogik E12xx)/Cellular Micro RTU Controller (ioLogik W53xx, ioLogik)/VPort 461 Industrial Video Encoder/IA240 Embedded computer/IA241 Embedded computer/OnCell Central Manager/EDS-505A Series/EDS-508A Series/OnCell G3100 Series/Generic | generic | MoxaHttp
Moxa | Nport and OnCell devices | . | port:4800 'Moxa Nport'
Moxa | Nport devices | . | title:'NPort web console'
Moxa | OnCell devices | . | port:4800 'OnCell'
Moxa | ioLogik Web Server | SCADA Software | ioLogik Web Server
NRG Systems | WindCube | Wind Speed Meter | WindWeb
Nordex | . | Wind Farm Portal | http.title:"Nordex Control" "Windows 2000 5.0 x86" "Jetty/3.1 (JSP 1.1; Servlet 2.2; java 1.6.0_14)"
Omron | . | FINS, Factory Interface Network Service, | port:9600 response code
Phoenix Contact GmbH | . | SCADA visualization system | Visu+ Web Client
Phonix Contact | . | PCWorxs | port:1962 PLC
Phonix Contact | AXC is a modular small-scale controller for the Axioline I/O system | PCWorxs | PLC Type: AXC
Phonix Contact | ILC controllers | PCWorxs | PLC Type: ILC
Quantum | . | Multiple Devices | Quantum BACnet
RTS Services | General | SCADA Software | RTS SCADA Server
Rabbit | Generic | Multiple Devices | Z-World Rabbit
Rabbit | Z-World Rabbit | Multiple Devices | title:phasefale Z-World Rabbit
Red Lion Controls | . | Red Lion Controls G306a human machine interface (HMI). | port:789 product:"Red Lion Controls"
Reliance | Reliance 4 SCADA/HMI system | SCADA/HMI Software | Reliance 4 Control Server
Rockwell Automation | Generic | Generic | Rockwell Automation
Rockwell Automation / Allen-Bradley | . | small programmable logic controller solution | Micrologix
Rockwell Automation / Allen-Bradley | Generic | Generic | Allen-Bradley / Series C Revision
SBC | . | . / Saia Burgess Control Applet | IMasterSaia5_15_03.jar / Saia PG5 Web Editor
Schleifenbauer | SPbus gateway | Network Gateway | Schleifenbauer SPbus gateway
Schneider Electric | CitectSCADA | HMI / SCADA software package | CitectSCADA
Schneider Electric | EGX300 | . | Schneider Electric EGX300
Schneider Electric | General | Multiple Devices | Schneider-WEB
Schneider Electric | Generic | Energy and power meter / Generic / SCADA software | ClearSCADA / Power Measurement Ltd / title:PowerLogic
Schneider Electric | Modicon | generic | Modicon / TELEMECANIQUE BMX
Schneider Electric | Modicon M340 | PLC | Modicon M340
Schneider Electric | PowerLogic EGX | EGX100MG | EGX100MG
Schneider Electric | PowerLogic ION7650 Energy and power meter | Energy and power meter | port:23 'Meter ION'
Schneider Electric | PowerLogic Series | Power Monitoring Module | PowerLogic
Schneider Electric | generic | generic | Schneider Electric
Siemens | BACNET Devices | . | "Siemens BACnet Field Panel"
Siemens | Generic | Generic | Copyright: Original Siemens Equipment
Siemens | PLC | port can not be deactivated by user | port:102
Siemens | Scalance generic | SCALANCE X Industrial Ethernet switches / SCALANCE W Industrial Wireless LAN / SCALANCE M Industrial routers / SCALANCE S Industrial Security | Scalance
Siemens | Simatic | . | XP277
Siemens | Simatic HMI | Generic / HMI | HMI XP277 / Simatic / Welcome to the Windows CE Telnet Service on HMI_Panel
Siemens | Simatic S7-1200 | PLC | Portal0000
Siemens | Simatic S7-200 | PLC | S7-200
Siemens | Simatic S7-300 | PLC | S7-300
Siemens | Simatic S7-300 (pre-2009 versions) | PLC | Portal0000.htm
Sierra Wireless | . | . | /gc/flash.php
SoftPLC | . | . | SoftPLC
Somfy | General | Smart Home Devices | title:Somfy
SpiderControl | Generic | HMI | SpiderControl
Stulz GmbH | Generic | Generic | Stulz GmbH Klimatechnik
Trend | IQ3xcite | Controller | server: iq3
Tridium | . | Fox protocol developed as part of Niagara framework | port:1911,4911 product:Niagara
Tridium | BACNet Devices | . | "Local BACnet Device object" "Tridium"
Tridium | Niagara Framework | . | Niagara-Platform: QNX / os.name=s:QNX
Tridium | NiagaraAX (ver 1) | Software for JACE-2 JACE-403 or JACE-545 | Niagara Web Server
Tridium | NiagaraAX (ver 2) | Software for JACE-2 JACE-403 or JACE-545 | niagara_audit
Tridium | NiagaraAX (ver 3) | Software for JACE-2 JACE-403 or JACE-545 | niagara_audit -login
Trihedral | . | VTScada ODBC Server | Server: VTScada
Veeder-root | . | Automated Tank Gauge (Vendor most likely Veeder-Root but not guaranteed) results typically contain a lot of honyepots (conpot) | I20100 port:10001
Wago | Generic | Generic | title:WAGO
Wind River | Generic | Generic | WindRiver-WebServer
Wind River | VxWorks | SCADA Software | VxWorks
Xzeres | 442SR | small wind turbine | title:'xzeres wind'
generic | . | searching tag values requires suitable account | tag:ics / tag:iot
generic | BACNet Devices | . | "BACnet Broadcast Management Device"